## Slide 1: Real-Time Quality Index Estimation for Redundant Sampled Values Streams in Digital Substations
Everton Matheus Oriente
Master’s degree in Critical Computing Systems Engineering

## Slide 2: Context of Substations
Substation Automation Evolution
Transition from electromechanical relays to Intelligent Electronic Devices (IEDs)
IEC 61850 protocol and Merging Units (MU)

## Slide 3: Presentation of the Problem
Overview of the challenges in substation automation
Current issues in protection systems
Need for more dynamic and reliable data sources for SVs in protection relays.

## Slide 4: Problem Identification
Challenges with current MU systems
Reliability concerns when switching between sampled values
Inability to select the optimal Sampled Values (SV) in real-time

## Slide 5: Vision of the Solution
Proposing a real-time algorithm
Developing an algorithm to select the best SV in real-time based on reliability and performance.
This ensures better decision-making in protection relays.

## Slide 6: System Architecture
Merging Unit, Publisher, Subscriber, Protection Relay
Integration of the state machine for SV selection

## Slide 7: Implementation
Building the publisher and subscriber for SVs
State machine implementation for optimal SV selection
Error handling and synchronization improvements

## Slide 8: State Machine Logic
Receives SVs from two sources
Validates the quality of SV
Selects the optimal SV based on predefined metrics (error rate, latency)

## Slide 9
State Machine

## Slide 10: Demonstration
Simulated signals: using test setup with publisher/subscriber

## Slide 11: Analysis of Results
Algorithm successfully selects optimal SV in real-time
Improved fault detection and faster response times in protection relays
Demonstrated stability and efficiency in both test scenarios

## Slide 12: Challenges and Limitations
Synchronization issues between the publisher and subscriber
Latency issues during tests because doesn’t have a good source time as needed

## Slide 13: Conclusion
Developed an algorithm to dynamically select the best SV
Enhanced the reliability of protection relays
Contributed to advancements in digital substation automation

## Slide 14: Question & Answers
Thanks for your attention!
Any questions?