## Slide 1: Introduction to Protection Relay and IEC 61850-9-2 Sampled Values (SV)

## Slide 2: Protection Relay Overview
- Definition: A protection relay is a device that detects abnormal conditions in electrical circuits and triggers protective actions.
- Importance of Protection Relays in Power Systems
- Key Functions of Protection Relays

## Slide 3: IEC 61850 Standard
- Overview of IEC 61850
- Purpose: To standardize communication within substations and integration of various devices.
- Key Components of IEC 61850

## Slide 4: IEC 61850-9-2 Introduction
- Overview of IEC 61850-9-2
- Focus on the sampled values (SV) aspect
- Importance of SV in power systems

## Slide 5: Sampled Values (SV) in IEC 61850-9-2
- Definition: SV refers to the process of sampling analog signals and transmitting them digitally.
- Purpose of SV in Power Systems
- Key Parameters Captured by Sampled Values

## Slide 6: SV Data Representation
- Discuss the digital representation of SV data
- Importance of accurate data representation for effective protection
- Compatibility with different devices

## Slide 7: IEC 61850-9-2 SV Communication
- Explain the communication protocols for SV in IEC 61850-9-2
- Real-time communication requirements
- Interoperability with other devices

## Slide 8: Implementation Challenges
- Discuss challenges in implementing IEC 61850-9-2 SV
- Address compatibility issues
- Importance of proper training for operators

## Slide 9: Case Studies
- Showcase real-world examples of successful implementations
- Highlight benefits and lessons learned from case studies

## Slide 10: Conclusion and Q&A
- Summarize key points
- Open the floor for questions and discussions